## SWWS-PERMITS - 2026
OPERATION AND MAINTENANCE OF SALALAH WASTEWATER SYSTEM, TREATED EFFLUENT SUPPLY NETWORK &WASTEWATER TREATMENT PLANT AT HAREET
PERMIT LOG REGISTER
LOCATION: SALALAH Tender:- DISC/2023/004
Sl. | Permit Control Reference Number | Area | Location | Type of Permit | Job Description | Associated Certificates | Certificate No | Permit Applicant | Permit Holder | Authorized Permit Issuer | Area Authority ( If Applicable) | Permit Controller | Permit Validity |  | Status | Days to Go
[13 empty] | From | To
1 | 1000 | - | - | - | - | - | - | - | - | - | - | - | 2000-01-01 | 2000-01-02 | -
2 | 1001 | - | - | - | - | - | - | - | - | - | - | - | 2000-01-01 | 2000-01-02 | -
3 | 1002 | - | - | - | - | - | - | - | - | - | - | - | 2000-01-01 | 2000-01-02 | -

## DropdownRAW (hidden)
area | permit | certificates | Aplicant | holder | issuer | status
CCS | COLD | CONFINED SPACE ENTRY | AKSHITH | ABRAHAM | HAMID SAID AL AWAID | CANCELED
TSE | COLD BLANKET | ELECTRICAL ISOLATION | BALAKRISHNAN | MIJO JOHN | AHMED ALAMRI | CLOSED
| HOT | EXCAVATION | MADHU | RAJESH | ALI BA OMAR | EXPIRED
|  | HEAVY EQUIPMENT LIFTING | NISHANTH K | NISHANTH K | AQEEL BAOMAR | OPEN
|  | MECHANICAL ISOLATION / DE-ISOLATION |  | AKSHITH | HAITHAM EIDROOS
|  | NA |  |  | HAMID JABOOB
|  | WORK AT HEIGHT |  |  | MOHAMMAD BAQI
|  | WORK AT NIGHT |  |  | SAID AL ZAWAMRI
SAID AL ZAWAMRI
HAMID SAID AL AWAID
AHMED ALAMRI
MOHAMMAD BAQI
HAMID JABOOB
ALI BA OMAR
AQEEL BAOMAR
HAITHAM EIDROOS